## RAW
Dateiname | Title (iIRDS) | Language (iiRDS) | has document type | has VDI 2770 document category | Altitude | Ambient temp. Max | Ambient temp. Min | BIL chopped wave voltage | Creepage distance* | Flexural strength | Insulator - Supplier | Lightning impulse withstand voltage | Max. operation voltage Um | Min. requiered creepage distance | Pollution class | Power frequency withstand voltage HV neutral | Power frequency withstand voltage secondary | Rated frequency fR | Switching impulse withstand voltage | Withstand voltage (dry) | Withstand voltage at 1 bar abs | relates to Typetest required | External observer | Additional typtest required | SIL required | Voltage level on 1 bar a. | Magnetization characteristic U | Magnetization characteristic I | Dew point measurement | Insulation resistance measurement | Additional routine tests required & special tests | BIL required | Accuracy class Winding 1 | Accuracy class Winding 2 | Accuracy class Winding 3 | Accuracy class Winding 4 | Accuracy class Winding 5 | Rated power (VA) Winding 1 | Rated power (VA) Winding 2 | Rated power (VA) Winding 3 | Rated power (VA) Winding 4 | Rated power (VA) Winding 5 | Rated power (VA) Ground fault | Rated primary voltage (V) Winding 1 | Rated primary voltage (V) Winding 2 | Rated primary voltage (V) Winding 3 | Rated primary voltage (V) Winding 4 | Rated primary voltage (V) Winding 5 | Rated primary voltage (V) Ground fault | Rated secondary voltage (V) Winding 1 | Rated secondary voltage (V) Winding 2 | Rated secondary voltage (V) Winding 3 | Rated secondary voltage (V) Winding 4 | Rated secondary voltage (V) Winding 5 | Rated secondary voltage (V) Ground fault | Accuracy class Core 1 | Accuracy class Core 2 | Accuracy class Core 3 | Accuracy class Core 4 | Accuracy class Core 5 | Accuracy class Core 6 | Accuracy class Core 7 | Current flow t' (milli seconds) Core 1 | Current flow t' (milli seconds) Core 2 | Current flow t' (milli seconds) Core 3 | Current flow t' (milli seconds) Core 4 | Current flow t' (milli seconds) Core 5 | Current flow t' (milli seconds) Core 6 | Current flow t' (milli seconds) Core 7 | Current flow t'' (milli seconds) Core 1 | Current flow t'' (milli seconds) Core 2 | Current flow t'' (milli seconds) Core 3 | Current flow t'' (milli seconds) Core 4 | Current flow t'' (milli seconds) Core 5 | Current flow t'' (milli seconds) Core 6 | Current flow t'' (milli seconds) Core 7 | Current flow tal' (milli seconds) Core 1 | Current flow tal' (milli seconds) Core 2 | Current flow tal' (milli seconds) Core 3 | Current flow tal' (milli seconds) Core 4 | Current flow tal' (milli seconds) Core 5 | Current flow tal' (milli seconds) Core 6 | Current flow tal' (milli seconds) Core 7 | Current flow tal'' (milli seconds) Core 1 | Current flow tal'' (milli seconds) Core 2 | Current flow tal'' (milli seconds) Core 3 | Current flow tal'' (milli seconds) Core 4 | Current flow tal'' (milli seconds) Core 5 | Current flow tal'' (milli seconds) Core 6 | Current flow tal'' (milli seconds) Core 7 | Dead time ttfr (milli seconds) Core 1 | Dead time ttfr (milli seconds) Core 2 | Dead time ttfr (milli seconds) Core 3 | Dead time ttfr (milli seconds) Core 4 | Dead time ttfr (milli seconds) Core 5 | Dead time ttfr (milli seconds) Core 6 | Dead time ttfr (milli seconds) Core 7 | Dimension factor Ktd Core 1 | Dimension factor Ktd Core 2 | Dimension factor Ktd Core 3 | Dimension factor Ktd Core 4 | Dimension factor Ktd Core 5 | Dimension factor Ktd Core 6 | Dimension factor Ktd Core 7 | Extension (%) Core 1 | Extension (%) Core 2 | Extension (%) Core 3 | Extension (%) Core 4 | Extension (%) Core 5 | Extension (%) Core 6 | Extension (%) Core 7 | Knee point Ek (V) Kern 1 | Knee point Ek (V) Kern 2 | Knee point Ek (V) Kern 3 | Knee point Ek (V) Kern 4 | Knee point Ek (V) Kern 5 | Knee point Ek (V) Kern 6 | Knee point Ek (V) Kern 7 | Magn. current (milli amps) Core 1 | Magn. current (milli amps) Core 2 | Magn. current (milli amps) Core 3 | Magn. current (milli amps) Core 4 | Magn. current (milli amps) Core 5 | Magn. current (milli amps) Core 6 | Magn. current (milli amps) Core 7 | Rated power (VA) Core 1 | Rated power (VA) Core 2 | Rated power (VA) Core 3 | Rated power (VA) Core 4 | Rated power (VA) Core 5 | Rated power (VA) Core 6 | Rated power (VA) Core 7 | Rated primary current (amps) Core 1 | Rated primary current (amps) Core 2 | Rated primary current (amps) Core 3 | Rated primary current (amps) Core 4 | Rated primary current (amps) Core 5 | Rated primary current (amps) Core 6 | Rated primary current (amps) Core 7 | Rated sec. current (amps) Core 1 | Rated sec. current (amps) Core 2 | Rated sec. current (amps) Core 3 | Rated sec. current (amps) Core 4 | Rated sec. current (amps) Core 5 | Rated sec. current (amps) Core 6 | Rated sec. current (amps) Core 7 | Sec. Resistance (ohm) Kern 1 | Sec. Resistance (ohm) Kern 2 | Sec. Resistance (ohm) Kern 3 | Sec. Resistance (ohm) Kern 4 | Sec. Resistance (ohm) Kern 5 | Sec. Resistance (ohm) Kern 6 | Sec. Resistance (ohm) Kern 7 | Short circuit factor KSSC Core 1 | Short circuit factor KSSC Core 2 | Short circuit factor KSSC Core 3 | Short circuit factor KSSC Core 4 | Short circuit factor KSSC Core 5 | Short circuit factor KSSC Core 6 | Short circuit factor KSSC Core 7 | Time constant primary Tp (ms) Kern 1 | Time constant primary Tp (ms) Kern 2 | Time constant primary Tp (ms) Kern 3 | Time constant primary Tp (ms) Kern 4 | Time constant primary Tp (ms) Kern 5 | Time constant primary Tp (ms) Kern 6 | Time constant primary Tp (ms) Kern 7 | Densimeter-type | Cable protection hose | Densimeter brand | Densimeter Contacts | Densimeter points to the ground (rotation) | relates to tre:Densimeter switching contacts with falling pressure: | Densimeter testing equipment | Densimeter wired in terminal box | Earthing contacts seperately grounded | Filling valve | Hybrid DW | Permissible leakage rate | Pressure shown on the Densimeter | Sensgear required | Documents located in TB | Primary connection | Special short manual designed for Customer | Earthing connection | Material of earthing connection | Additional delivery parts from TG | Auxiliary Contacts | Barcode on ratingplate | Supplier ID-nr. on ratingplate | Material of ratingplate | Intended breaking points | Cover of customer clamps | Cableglands | Language on ratingplate | Terminalbox-heating | Detail of protection | Protection required | Spark gap required | Connection clamps | Earthing bar | Design Terminalbox | Clamps for densimeter | PT100 required | Name on ratingplate
TL1_commented_offer rev0_test1_.pdf | AC Yard - Current Transformers - Equipment Specification Equipment specification | English | Specification | Technical specification | AI found no value | +50°C | -25°C | AI found no value | 43.3 mm/kV | AI found no value | AI found no value | 1550 kVpeak | 420 kV | 10500 mm | e-very heavy | AI found no value | AI found no value | 50 | 1175 kVpeak | 680 kVpeak | AI found no value | Yes | No | Yes | No | No | No | No | No | No | Yes | Yes | AI found no value |  |  |  |  | AI found no value | [5 empty] | 420 kV | [5 empty] | AI found no value | [5 empty] | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | [42 empty] | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | [56 empty] | AI found no value | No | Not specified | 2 | No | AI found no value | No | No | No | DN8 | No | AI found no value | AI found no value | No | ? | Other specification | No | Other specification |  | No |  | No | No |  | No | No | No |  | No | Not specified | No | No | AI found no value | No | Not specified | AI found no value | No
TL1_2509000010_10_DB.pdf | Auftragsdatenblatt GIF | English, German | Specification | Technical specification | 1000 m | 50° Celsius | - 25° Celsius | AI found no value | 43,3 (25) [RUSCD(SCD)] | AI found no value | not specified | 1550 kV | 420 kV | 15750 mm | d-heavy | AI found no value | 3 | 50 | 1175 kV | 680 kV | 266,73 kV // 1h | No | Yes | No | No | No | No | Yes | No | No | Yes | No | AI found no value |  |  |  |  | AI found no value | [5 empty] | AI found no value | [5 empty] | AI found no value | [5 empty] | TPY | TPY | 5PR | 5PR | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | 3ohm | 3ohm | 10 | 10 |  |  |  | 1000 A | 1000 A | 3200-1600-1000 | 3200-1600-1000 |  |  |  | 1:00 | 1:00 | 1:00 | 1:00 |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | 15 | 15 | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | with transmitter, without transmitter | No | EMD | 2 | Yes | Change over | Yes | Yes | Yes | DN8 | No | 0,1% / p.a | AI found no value | No |  | Al. Flat-terminal 210x120x20– 8xD13,0 hole distance 50 mm , Al. Flat-terminal 200x120x20 - 8xØ14,0 hole distance 50 mm (IEC) | Yes |  | Not specified | No |  | No | No | Al silver & black lettering | No | No |  | Italian | No | Not specified | No | No | Phoenix UK16N | No |  | Phoenix UK6N | No
| AC Current Transformers for Adriatic Link converter stations | German | [30 empty] | AI found no value |  |  |  |  | AI found no value | [5 empty] | AI found no value | [5 empty] | AI found no value | [5 empty] | TPY | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | 3200 A | 3200 A | 3200 A |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value |  |  |  |  | AI found no value | AI found no value | AI found no value
| CTG420-040-0240 SAS 420 | German | [30 empty] | AI found no value |  |  |  |  | AI found no value | [5 empty] | AI found no value | [5 empty] | AI found no value | [5 empty] | TPY | TPY | 5PR | 5PR | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | 3 Ohm | 3 Ohm | 10 VA | 10 VA |  |  |  | 1000 A | 1000 A | 3200-1600-1000 A | 3200-1600-1000 A |  |  |  | 1:00 | 1:00 | 1:00 | 1:00 |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value

## transformed
| SPEC | DB |  | SPEC fragment | DB fragment
Dateiname | TL1_commented_offer rev0_test1_.pdf | TL1_2509000010_10_DB.pdf | Kommentar Youseff | Fragment Spezifikation | Fragment Datenblatt
Title (iIRDS) | AC Yard - Current Transformers - Equipment Specification Equipment specification | Auftragsdatenblatt GIF |  | AC Current Transformers for Adriatic Link converter stations | CTG420-040-0240 SAS 420
Language (iiRDS) | English | English, German |  | German | German
has document type | Specification | Specification
has VDI 2770 document category | Technical specification | Technical specification
Altitude | AI found no value | 1000 m | indeed value present: SPEC value page 10 chap3.1.2.
Ambient temp. Max | +50°C | 50° Celsius | ok
Ambient temp. Min | -25°C | - 25° Celsius | ok
BIL chopped wave voltage | AI found no value | AI found no value | ok
Creepage distance* | 43.3 mm/kV | 43,3 (25) [RUSCD(SCD)] | ok
Flexural strength | AI found no value | AI found no value | ok
Insulator - Supplier | AI found no value | not specified | ok
Lightning impulse withstand voltage | 1550 kVpeak | 1550 kV | ok
Max. operation voltage Um | 420 kV | 420 kV | ok
Min. requiered creepage distance | 10500 mm | 15750 mm | ok
Pollution class | e-very heavy | d-heavy | ok
Power frequency withstand voltage HV neutral | AI found no value | AI found no value | ok
Power frequency withstand voltage secondary | AI found no value | 3 | AI wrong: SPEC value page 31 chap 4.1.2.4.
Rated frequency fR | 50 | 50
Switching impulse withstand voltage | 1175 kVpeak | 1175 kV
Withstand voltage (dry) | 680 kVpeak | 680 kV
Withstand voltage at 1 bar abs | AI found no value | 266,73 kV // 1h | AI must be teached that 1 bar pressure absolute is zero relative pressure: SPEC value page 24 chap 4.1.1.11.
relates to Typetest required | Yes | No | ok
External observer | No | Yes | ok
Additional typtest required | Yes | No | ok
SIL required | No | No | ok
Voltage level on 1 bar a. | No | No | ok
Magnetization characteristic U | No | No | ok
Magnetization characteristic I | No | Yes | AI wrong: SPEC value page 32 chap 4.1.2.10.
Dew point measurement | No | No | ok
Insulation resistance measurement | No | No | ok
Additional routine tests required & special tests | Yes | Yes | ok
BIL required | Yes | No | only as typre test not routine
Accuracy class Winding 1 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Accuracy class Winding 2 |  |  | ok
Accuracy class Winding 3 |  |  | ok
Accuracy class Winding 4 |  |  | ok
Accuracy class Winding 5 |  |  | ok
Rated power (VA) Winding 1 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Rated power (VA) Winding 2 |  |  | ok
Rated power (VA) Winding 3 |  |  | ok
Rated power (VA) Winding 4 |  |  | ok
Rated power (VA) Winding 5 |  |  | ok
Rated power (VA) Ground fault |  |  | ok
Rated primary voltage (V) Winding 1 | 420 kV | AI found no value | ok | AI found no value | AI found no value
Rated primary voltage (V) Winding 2 |  |  | ok
Rated primary voltage (V) Winding 3 |  |  | ok
Rated primary voltage (V) Winding 4 |  |  | ok
Rated primary voltage (V) Winding 5 |  |  | ok
Rated primary voltage (V) Ground fault |  |  | ok
Rated secondary voltage (V) Winding 1 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Rated secondary voltage (V) Winding 2 |  |  | ok
Rated secondary voltage (V) Winding 3 |  |  | ok
Rated secondary voltage (V) Winding 4 |  |  | ok
Rated secondary voltage (V) Winding 5 |  |  | ok
Rated secondary voltage (V) Ground fault |  |  | ok
Accuracy class Core 1 | AI found no value | TPY | AI wrong:: SPEC value page 44 | TPY | TPY
Accuracy class Core 2 | AI found no value | TPY | AI wrong:: SPEC value page 44 | AI found no value | TPY
Accuracy class Core 3 | AI found no value | 5PR | AI wrong:: SPEC value page 44 | AI found no value | 5PR
Accuracy class Core 4 | AI found no value | 5PR | AI wrong:: SPEC value page 44 | AI found no value | 5PR
Accuracy class Core 5 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Accuracy class Core 6 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Accuracy class Core 7 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Current flow t' (milli seconds) Core 1 |  | AI found no value | ok | AI found no value | AI found no value
Current flow t' (milli seconds) Core 2 |  | AI found no value | ok | AI found no value | AI found no value
Current flow t' (milli seconds) Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Current flow t' (milli seconds) Core 4 |  | AI found no value | ok |  | AI found no value
Current flow t' (milli seconds) Core 5 |  |  | ok
Current flow t' (milli seconds) Core 6 |  |  | ok
Current flow t' (milli seconds) Core 7 |  |  | ok
Current flow t'' (milli seconds) Core 1 |  | AI found no value | ok | AI found no value | AI found no value
Current flow t'' (milli seconds) Core 2 |  | AI found no value | ok | AI found no value | AI found no value
Current flow t'' (milli seconds) Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Current flow t'' (milli seconds) Core 4 |  | AI found no value | ok |  | AI found no value
Current flow t'' (milli seconds) Core 5 |  |  | ok
Current flow t'' (milli seconds) Core 6 |  |  | ok
Current flow t'' (milli seconds) Core 7 |  |  | ok
Current flow tal' (milli seconds) Core 1 |  | AI found no value | ok | AI found no value | AI found no value
Current flow tal' (milli seconds) Core 2 |  | AI found no value | ok | AI found no value | AI found no value
Current flow tal' (milli seconds) Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Current flow tal' (milli seconds) Core 4 |  | AI found no value | ok |  | AI found no value
Current flow tal' (milli seconds) Core 5 |  |  | ok
Current flow tal' (milli seconds) Core 6 |  |  | ok
Current flow tal' (milli seconds) Core 7 |  |  | ok
Current flow tal'' (milli seconds) Core 1 |  | AI found no value | ok | AI found no value | AI found no value
Current flow tal'' (milli seconds) Core 2 |  | AI found no value | ok | AI found no value | AI found no value
Current flow tal'' (milli seconds) Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Current flow tal'' (milli seconds) Core 4 |  | AI found no value | ok |  | AI found no value
Current flow tal'' (milli seconds) Core 5 |  |  | ok
Current flow tal'' (milli seconds) Core 6 |  |  | ok
Current flow tal'' (milli seconds) Core 7 |  |  | ok
Dead time ttfr (milli seconds) Core 1 |  | AI found no value | ok | AI found no value | AI found no value
Dead time ttfr (milli seconds) Core 2 |  | AI found no value | ok | AI found no value | AI found no value
Dead time ttfr (milli seconds) Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Dead time ttfr (milli seconds) Core 4 |  | AI found no value | ok |  | AI found no value
Dead time ttfr (milli seconds) Core 5 |  |  | ok
Dead time ttfr (milli seconds) Core 6 |  |  | ok
Dead time ttfr (milli seconds) Core 7 |  |  | ok
Dimension factor Ktd Core 1 |  | AI found no value | AI wrong : SPEC value page 44 3.5 | AI found no value | AI found no value
Dimension factor Ktd Core 2 |  | AI found no value | AI wrong : SPEC value page 44 3.13 | AI found no value | AI found no value
Dimension factor Ktd Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Dimension factor Ktd Core 4 |  | AI found no value | ok |  | AI found no value
Dimension factor Ktd Core 5 |  |  | ok
Dimension factor Ktd Core 6 |  |  | ok
Dimension factor Ktd Core 7 |  |  | ok
Extension (%) Core 1 | AI found no value | AI found no value | AI wrong: SPEC value page 44 3.20 | AI found no value | AI found no value
Extension (%) Core 2 | AI found no value | AI found no value | AI wrong : SPEC value page 44 3.28 | AI found no value | AI found no value
Extension (%) Core 3 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Extension (%) Core 4 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Extension (%) Core 5 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Extension (%) Core 6 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Extension (%) Core 7 | AI found no value | AI found no value | ok | AI found no value | AI found no value
Knee point Ek (V) Kern 1 |  | AI found no value | ok | AI found no value | AI found no value
Knee point Ek (V) Kern 2 |  | AI found no value | ok | AI found no value | AI found no value
Knee point Ek (V) Kern 3 |  | AI found no value | ok | AI found no value | AI found no value
Knee point Ek (V) Kern 4 |  | AI found no value | ok |  | AI found no value
Knee point Ek (V) Kern 5 |  |  | ok
Knee point Ek (V) Kern 6 |  |  | ok
Knee point Ek (V) Kern 7 |  |  | ok
Magn. current (milli amps) Core 1 |  | AI found no value | ok | AI found no value | AI found no value
Magn. current (milli amps) Core 2 |  | AI found no value | ok | AI found no value | AI found no value
Magn. current (milli amps) Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Magn. current (milli amps) Core 4 |  | AI found no value | ok |  | AI found no value
Magn. current (milli amps) Core 5 |  |  | ok
Magn. current (milli amps) Core 6 |  |  | ok
Magn. current (milli amps) Core 7 |  |  | ok
Rated power (VA) Core 1 |  | 3ohm | AI must be teached for TPY / TPZ class the rated power is expressed also as "Rb" in ohm, then power is secondary current x ohm value = VA. in this case secondary current is 1 A so 3x1 = 1VA | AI found no value | 3 Ohm
Rated power (VA) Core 2 |  | 3ohm | AI must be teached for TPY / TPZ class the rated power is expressed also as "Rb" in ohm, then power is secondary current x ohm value = VA. in this case secondary current is 1 A so 3x1 = 1VA | AI found no value | 3 Ohm
Rated power (VA) Core 3 |  | 10 | AI wrong :should be 15 see page 44, par 3.20 (it was intented to have different value between spec and DB) | AI found no value | 10 VA
Rated power (VA) Core 4 |  | 10 | AI wrong :should be 15 see page 44, par 3.28 (it was intented to have different value between spec and DB) |  | 10 VA
Rated power (VA) Core 5 |  |  | ok
Rated power (VA) Core 6 |  |  | ok
Rated power (VA) Core 7 |  |  | ok
Rated primary current (amps) Core 1 |  | 1000 A | AI not correctly correctly detected in spec | 3200 A | 1000 A
Rated primary current (amps) Core 2 |  | 1000 A | AI not correctly correctly detected in spec | 3200 A | 1000 A
Rated primary current (amps) Core 3 |  | 3200-1600-1000 | AI not correctly correctly detected in spec | 3200 A | 3200-1600-1000 A
Rated primary current (amps) Core 4 |  | 3200-1600-1000 | AI not correctly correctly detected in spec |  | 3200-1600-1000 A
Rated primary current (amps) Core 5 |  |  | ok
Rated primary current (amps) Core 6 |  |  | ok
Rated primary current (amps) Core 7 |  |  | ok
Rated sec. current (amps) Core 1 |  | 1:00 | format excel wrong for DB. SPEC AI wrong: should had 1A detected | AI found no value | 1:00
Rated sec. current (amps) Core 2 |  | 1:00 | format excel wrong for DB. SPEC AI wrong: should had 1A detected | AI found no value | 1:00
Rated sec. current (amps) Core 3 |  | 1:00 | format excel wrong for DB. SPEC AI wrong: should had 1A detected | AI found no value | 1:00
Rated sec. current (amps) Core 4 |  | 1:00 | format excel wrong for DB. SPEC AI wrong: should had 1A detected |  | 1:00
Rated sec. current (amps) Core 5 |  |  | ok
Rated sec. current (amps) Core 6 |  |  | ok
Rated sec. current (amps) Core 7 |  |  | ok
Sec. Resistance (ohm) Kern 1 |  | AI found no value | ok | AI found no value | AI found no value
Sec. Resistance (ohm) Kern 2 |  | AI found no value | ok | AI found no value | AI found no value
Sec. Resistance (ohm) Kern 3 |  | AI found no value | ok | AI found no value | AI found no value
Sec. Resistance (ohm) Kern 4 |  | AI found no value | ok |  | AI found no value
Sec. Resistance (ohm) Kern 5 |  |  | ok
Sec. Resistance (ohm) Kern 6 |  |  | ok
Sec. Resistance (ohm) Kern 7 |  |  | ok
Short circuit factor KSSC Core 1 |  | 15 | AI wrong: SPEC should had 15 detected | AI found no value | AI found no value
Short circuit factor KSSC Core 2 |  | 15 | AI wrong: SPEC should had 15 detected | AI found no value | AI found no value
Short circuit factor KSSC Core 3 |  | AI found no value | ok | AI found no value | AI found no value
Short circuit factor KSSC Core 4 |  | AI found no value | ok |  | AI found no value
Short circuit factor KSSC Core 5 |  |  | ok
Short circuit factor KSSC Core 6 |  |  | ok
Short circuit factor KSSC Core 7 |  |  | ok
Time constant primary Tp (ms) Kern 1 |  | AI found no value | ok | AI found no value | AI found no value
Time constant primary Tp (ms) Kern 2 |  | AI found no value | ok | AI found no value | AI found no value
Time constant primary Tp (ms) Kern 3 |  | AI found no value | ok | AI found no value | AI found no value
Time constant primary Tp (ms) Kern 4 |  | AI found no value | ok |  | AI found no value
Time constant primary Tp (ms) Kern 5 |  |  | ok
Time constant primary Tp (ms) Kern 6 |  |  | ok
Time constant primary Tp (ms) Kern 7 |  |  | ok
Densimeter-type | AI found no value | with transmitter, without transmitter | AI wrong: SPEC PAGE 15, chapter 3.2.1.3
Cable protection hose | No | No | ok
Densimeter brand | Not specified | EMD | ok
Densimeter Contacts | 2 | 2 | ok
Densimeter points to the ground (rotation) | No | Yes | SPEC PAGE 15, chapter 3.2.1.3, "clearly visibile" this should bring a message "information to be double checked"
relates to tre:Densimeter switching contacts with falling pressure: | AI found no value | Change over | ok
Densimeter testing equipment | No | Yes | AI wrong: SPEC PAGE 44 , chapter 4.3
Densimeter wired in terminal box | No | Yes | ok
Earthing contacts seperately grounded | No | Yes | ok
Filling valve | DN8 | DN8 | AI wrong: : SPEC DN8 & DN20 or 2x DN20 DB:DN8 & DN20
Hybrid DW | No | No | ok
Permissible leakage rate | AI found no value | 0,1% / p.a | AI wrong: SPEC PAGE 32, chapter 4.1.2.7
Pressure shown on the Densimeter | AI found no value | AI found no value | ok
Sensgear required | No | No | ok
Documents located in TB | ?
Primary connection | Other specification | Al. Flat-terminal 210x120x20– 8xD13,0 hole distance 50 mm , Al. Flat-terminal 200x120x20 - 8xØ14,0 hole distance 50 mm (IEC) | SPEC pag 13 the terminal specificiation is an drawing
Special short manual designed for Customer | No | Yes | ok
Earthing connection | Other specification |  | ok
Material of earthing connection |  | Not specified | ok
Additional delivery parts from TG | No | No | ok
Auxiliary Contacts |  |  | ok
Barcode on ratingplate | No | No | ok
Supplier ID-nr. on ratingplate | No | No | ok
Material of ratingplate |  | Al silver & black lettering | ok
Intended breaking points | No | No | ok
Cover of customer clamps | No | No | ok
Cableglands | No |  | DB: yes SPEC: page 14
Language on ratingplate |  | Italian | ok
Terminalbox-heating | No | No | ok
Detail of protection | Not specified | Not specified | ok
Protection required | No | No | ok
Spark gap required | No | No | ok
Connection clamps | AI found no value | Phoenix UK16N | SPEC: page 14 specify the cable dimension and then later Sales/ OEN decides which terminals could fit the scope
Earthing bar | No | No
Design Terminalbox | Not specified |  | ok
Clamps for densimeter | AI found no value | Phoenix UK6N | SPEC: page 14 specify the cable dimension and then later Sales/ OEN decides which terminals could fit the scope
PT100 required | No | No | ok
Name on ratingplate