## RAW
Dateiname | Title (iIRDS) | Language (iiRDS) | has document type | has VDI 2770 document category | Altitude | Ambient temp. Max | Ambient temp. Min | BIL chopped wave voltage | Creepage distance* | Flexural strength | Insulator - Supplier | Lightning impulse withstand voltage | Max. operation voltage Um | Min. requiered creepage distance | Pollution class | Power frequency withstand voltage HV neutral | Power frequency withstand voltage secondary | Rated frequency fR | Switching impulse withstand voltage | Withstand voltage (dry) | Withstand voltage at 1 bar abs | relates to Typetest required | External observer | Additional typtest required | SIL required | Voltage level on 1 bar a. | Magnetization characteristic U | Magnetization characteristic I | Dew point measurement | Insulation resistance measurement | Additional routine tests required & special tests | BIL required | Accuracy class Winding 1 | Accuracy class Winding 2 | Accuracy class Winding 3 | Accuracy class Winding 4 | Accuracy class Winding 5 | Rated power (VA) Winding 1 | Rated power (VA) Winding 2 | Rated power (VA) Winding 3 | Rated power (VA) Winding 4 | Rated power (VA) Winding 5 | Rated power (VA) Ground fault | Rated primary voltage (V) Winding 1 | Rated primary voltage (V) Winding 2 | Rated primary voltage (V) Winding 3 | Rated primary voltage (V) Winding 4 | Rated primary voltage (V) Winding 5 | Rated primary voltage (V) Ground fault | Rated secondary voltage (V) Winding 1 | Rated secondary voltage (V) Winding 2 | Rated secondary voltage (V) Winding 3 | Rated secondary voltage (V) Winding 4 | Rated secondary voltage (V) Winding 5 | Rated secondary voltage (V) Ground fault | Accuracy class Core 1 | Accuracy class Core 2 | Accuracy class Core 3 | Accuracy class Core 4 | Accuracy class Core 5 | Accuracy class Core 6 | Accuracy class Core 7 | Current flow t' (milli seconds) Core 1 | Current flow t' (milli seconds) Core 2 | Current flow t' (milli seconds) Core 3 | Current flow t' (milli seconds) Core 4 | Current flow t' (milli seconds) Core 5 | Current flow t' (milli seconds) Core 6 | Current flow t' (milli seconds) Core 7 | Current flow t'' (milli seconds) Core 1 | Current flow t'' (milli seconds) Core 2 | Current flow t'' (milli seconds) Core 3 | Current flow t'' (milli seconds) Core 4 | Current flow t'' (milli seconds) Core 5 | Current flow t'' (milli seconds) Core 6 | Current flow t'' (milli seconds) Core 7 | Current flow tal' (milli seconds) Core 1 | Current flow tal' (milli seconds) Core 2 | Current flow tal' (milli seconds) Core 3 | Current flow tal' (milli seconds) Core 4 | Current flow tal' (milli seconds) Core 5 | Current flow tal' (milli seconds) Core 6 | Current flow tal' (milli seconds) Core 7 | Current flow tal'' (milli seconds) Core 1 | Current flow tal'' (milli seconds) Core 2 | Current flow tal'' (milli seconds) Core 3 | Current flow tal'' (milli seconds) Core 4 | Current flow tal'' (milli seconds) Core 5 | Current flow tal'' (milli seconds) Core 6 | Current flow tal'' (milli seconds) Core 7 | Dead time ttfr (milli seconds) Core 1 | Dead time ttfr (milli seconds) Core 2 | Dead time ttfr (milli seconds) Core 3 | Dead time ttfr (milli seconds) Core 4 | Dead time ttfr (milli seconds) Core 5 | Dead time ttfr (milli seconds) Core 6 | Dead time ttfr (milli seconds) Core 7 | Dimension factor Ktd Core 1 | Dimension factor Ktd Core 2 | Dimension factor Ktd Core 3 | Dimension factor Ktd Core 4 | Dimension factor Ktd Core 5 | Dimension factor Ktd Core 6 | Dimension factor Ktd Core 7 | Extension (%) Core 1 | Extension (%) Core 2 | Extension (%) Core 3 | Extension (%) Core 4 | Extension (%) Core 5 | Extension (%) Core 6 | Extension (%) Core 7 | Knee point Ek (V) Kern 1 | Knee point Ek (V) Kern 2 | Knee point Ek (V) Kern 3 | Knee point Ek (V) Kern 4 | Knee point Ek (V) Kern 5 | Knee point Ek (V) Kern 6 | Knee point Ek (V) Kern 7 | Magn. current (milli amps) Core 1 | Magn. current (milli amps) Core 2 | Magn. current (milli amps) Core 3 | Magn. current (milli amps) Core 4 | Magn. current (milli amps) Core 5 | Magn. current (milli amps) Core 6 | Magn. current (milli amps) Core 7 | Rated power (VA) Core 1 | Rated power (VA) Core 2 | Rated power (VA) Core 3 | Rated power (VA) Core 4 | Rated power (VA) Core 5 | Rated power (VA) Core 6 | Rated power (VA) Core 7 | Rated primary current (amps) Core 1 | Rated primary current (amps) Core 2 | Rated primary current (amps) Core 3 | Rated primary current (amps) Core 4 | Rated primary current (amps) Core 5 | Rated primary current (amps) Core 6 | Rated primary current (amps) Core 7 | Rated sec. current (amps) Core 1 | Rated sec. current (amps) Core 2 | Rated sec. current (amps) Core 3 | Rated sec. current (amps) Core 4 | Rated sec. current (amps) Core 5 | Rated sec. current (amps) Core 6 | Rated sec. current (amps) Core 7 | Sec. Resistance (ohm) Kern 1 | Sec. Resistance (ohm) Kern 2 | Sec. Resistance (ohm) Kern 3 | Sec. Resistance (ohm) Kern 4 | Sec. Resistance (ohm) Kern 5 | Sec. Resistance (ohm) Kern 6 | Sec. Resistance (ohm) Kern 7 | Short circuit factor KSSC Core 1 | Short circuit factor KSSC Core 2 | Short circuit factor KSSC Core 3 | Short circuit factor KSSC Core 4 | Short circuit factor KSSC Core 5 | Short circuit factor KSSC Core 6 | Short circuit factor KSSC Core 7 | Time constant primary Tp (ms) Kern 1 | Time constant primary Tp (ms) Kern 2 | Time constant primary Tp (ms) Kern 3 | Time constant primary Tp (ms) Kern 4 | Time constant primary Tp (ms) Kern 5 | Time constant primary Tp (ms) Kern 6 | Time constant primary Tp (ms) Kern 7 | Densimeter-type | Cable protection hose | Densimeter brand | Densimeter Contacts | Densimeter points to the ground (rotation) | relates to tre:Densimeter switching contacts with falling pressure: | Densimeter testing equipment | Densimeter wired in terminal box | Earthing contacts seperately grounded | Filling valve | Hybrid DW | Permissible leakage rate | Pressure shown on the Densimeter | Sensgear required | Documents located in TB | Primary connection | Special short manual designed for Customer | Earthing connection | Material of earthing connection | Additional delivery parts from TG | Auxiliary Contacts | Barcode on ratingplate | Supplier ID-nr. on ratingplate | Material of ratingplate | Intended breaking points | Cover of customer clamps | Cableglands | Language on ratingplate | Terminalbox-heating | Detail of protection | Protection required | Spark gap required | Connection clamps | Earthing bar | Design Terminalbox | Clamps for densimeter | PT100 required | Name on ratingplate
NK29-TSE-51500-00001.pdf | TECHNICAL SPECIFICATION FOR BRUCE B 500 KV REVENUE METERING CURRENT TRANSFORMERS NK29-TSE-51500-00001 TETRA TECH DOCUMENT NUMBER: 705-18848602065-TS-E0001-01 | English | Specification | Technical specification | 205 | 40 | -50 | AI found no value | 16 | AI found no value | AI found no value | 1800 | 550 | 8800 | AI found no value | AI found no value | AI found no value | 60 | AI found no value | 830 | AI found no value | Yes | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | [23 empty] | 0,5S | 0,5S | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found |  | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | 1000 | 1000 | 1000 |  |  |  |  | 5 | 5 | [5 empty] | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | [5 empty] | AI found no value | No | Not specified | AI found no value | No | AI found no value | No | No | No | AI found no value | No | AI found no value | AI found no value | No | ? | Other specification | No | Other specification | Not specified | No |  | Yes | Yes | Stainless steel silver & black lettering | Yes | Yes | Yes |  | Yes | Not specified | Yes | Yes | Penn Union No. 6000 Series | No | Not specified | Phoenix UK5N, Phoenix UK6N, Phoenix PT6 | Yes
2301000576_10_DB_04.pdf | Auftragsdatenblatt GIF | German, English | Specification | Technical specification | 1000 m | 40 °C | -45 °C | AI found no value | 27,8 (16) [RUSCD(SCD)] | AI found no value | not specified | 1800 kV | 550 kV | 8800 mm | b-light | AI found no value | 3 | 60 | 1300 kV | 830 kV | AI found no value | Yes | Yes | No | Yes | No | No | No | No | No | No | Yes | No value found |  |  |  |  | No value found | [5 empty] | No value found | [5 empty] | No value found | [5 empty] | 0,5S | 0,5S | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found |  | No value found |  |  |  |  | See values below | See values below | See values below |  |  |  |  | (500-250-125) x (1000-500-250) | (500-250-125) x (1000-500-250) | (500-250-125) x (1000-500-250) |  |  |  |  | 5 | 5 | [5 empty] | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | [5 empty] | without transmitter | No | Not specified | 2 | No | Normally closed | No | Yes | No | DN20 | No | 0,5% / p.a | bar (rel./gauge) | No |  | Al. Flat-terminal 200x120x20 - 6xØ14,0 hole distance 44,5 mm, Al. Flat-terminal 200x120x20 - 4xØ14,0 hole distance 44,5 mm (NEMA), Al. Flat-terminal 200x120x20 - 8xØ14,0 hole distance 44,5 mm (NEMA) | No | 2xØ14,5, hole distance 44,5 mm (NEMA), 8xØ14,0 hole distance 44,5 x 44,5 mm (NEMA), 4xØ14,5 hole distance 44,5 x 44,5 mm (NEMA) | Not specified | No |  | No | No | Al silver & black lettering | No | No | No | English | No | Not specified | No | No | Phoenix UK6N, Phoenix UK16N, Bolt clamp M12 (Trench), Bolt clamp M10 (Trench) | No | Not specified | Phoenix UK6N, Bolt clamp M12 (Trench), Bolt clamp M10 (Trench) | No
| 500 kV Revenue Metering Current Transformer | German | [30 empty] | No value found |  |  |  |  | No value found | [5 empty] | No value found | [5 empty] | No value found | [5 empty] | 0,5S | 0,5S | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | 3.0 | 3.0 | 3.0 |  |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found |  | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | 1000-500-250-125 | 1000-500-250-125 | 1000-500-250-125 |  |  |  |  | 5 | 5 | [5 empty] | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found
| Type: CTG550-060-0600 SAS 550 | German | [30 empty] | No value found |  |  |  |  | No value found | [5 empty] | No value found | [5 empty] | No value found | [5 empty] | 0,5S | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | AI found no value | No value found | No value found | No value found |  |  |  |  | No value found |  | No value found |  |  |  |  | No value found | See values below | See values below |  |  |  |  | (500-250-125) x (1000-500-250) A | (500-250-125) x (1000-500-250) | (500-250-125) x (1000-500-250) |  |  |  |  | 5:00 | 5 | [5 empty] | No value found | No value found | No value found |  |  |  |  | No value found | No value found | No value found |  |  |  |  | No value found | No value found

## Vergleich
Dateiname | NK29-TSE-51500-00001.pdf | 2301000576_10_DB_04.pdf
Title (iIRDS) | TECHNICAL SPECIFICATION FOR BRUCE B 500 KV REVENUE METERING CURRENT TRANSFORMERS NK29-TSE-51500-00001 TETRA TECH DOCUMENT NUMBER: 705-18848602065-TS-E0001-01 | Auftragsdatenblatt GIF | 500 kV Revenue Metering Current Transformer | Type: CTG550-060-0600 SAS 550
Language (iiRDS) | English | German, English | German | German
has document type | Specification | Specification
has VDI 2770 document category | Technical specification | Technical specification
Altitude | 205 | 1000 m
Ambient temp. Max | 40 | 40 °C
Ambient temp. Min | -50 | -45 °C
BIL chopped wave voltage | AI found no value | AI found no value
Creepage distance* | 16 | 27,8 (16) [RUSCD(SCD)]
Flexural strength | AI found no value | AI found no value
Insulator - Supplier | AI found no value | not specified
Lightning impulse withstand voltage | 1800 | 1800 kV
Max. operation voltage Um | 550 | 550 kV
Min. requiered creepage distance | 8800 | 8800 mm
Pollution class | AI found no value | b-light |  |  | Dieser Wert ist nicht als Auswahl im Datenblatt vorhanden
Power frequency withstand voltage HV neutral | AI found no value | AI found no value
Power frequency withstand voltage secondary | AI found no value | 3
Rated frequency fR | 60 | 60
Switching impulse withstand voltage | AI found no value | 1300 kV
Withstand voltage (dry) | 830 | 830 kV
Withstand voltage at 1 bar abs | AI found no value | AI found no value
relates to Typetest required | Yes | Yes
External observer | Yes | Yes
Additional typtest required | No | No
SIL required | No | Yes
Voltage level on 1 bar a. | No | No
Magnetization characteristic U | Yes | No
Magnetization characteristic I | Yes | No
Dew point measurement | No | No
Insulation resistance measurement | No | No
Additional routine tests required & special tests | Yes | No
BIL required | Yes | Yes
Accuracy class Winding 1 |  | No value found | No value found | No value found
Accuracy class Winding 2
Accuracy class Winding 3
Accuracy class Winding 4
Accuracy class Winding 5
Rated power (VA) Winding 1 |  | No value found | No value found | No value found
Rated power (VA) Winding 2
Rated power (VA) Winding 3
Rated power (VA) Winding 4
Rated power (VA) Winding 5
Rated power (VA) Ground fault
Rated primary voltage (V) Winding 1 |  | No value found | No value found | No value found
Rated primary voltage (V) Winding 2
Rated primary voltage (V) Winding 3
Rated primary voltage (V) Winding 4
Rated primary voltage (V) Winding 5
Rated primary voltage (V) Ground fault
Rated secondary voltage (V) Winding 1 |  | No value found | No value found | No value found
Rated secondary voltage (V) Winding 2
Rated secondary voltage (V) Winding 3
Rated secondary voltage (V) Winding 4
Rated secondary voltage (V) Winding 5
Rated secondary voltage (V) Ground fault
Accuracy class Core 1 | 0,5S | 0,5S | 0,5S | 0,5S
Accuracy class Core 2 | 0,5S | 0,5S | 0,5S | AI found no value
Accuracy class Core 3 | AI found no value | AI found no value | AI found no value | AI found no value
Accuracy class Core 4 | AI found no value | AI found no value | AI found no value | AI found no value
Accuracy class Core 5 | AI found no value | AI found no value | AI found no value | AI found no value
Accuracy class Core 6 | AI found no value | AI found no value | AI found no value | AI found no value
Accuracy class Core 7 | AI found no value | AI found no value | AI found no value | AI found no value
Current flow t' (milli seconds) Core 1 | No value found | No value found | No value found | No value found
Current flow t' (milli seconds) Core 2 | No value found | No value found | No value found | No value found
Current flow t' (milli seconds) Core 3 | No value found | No value found | No value found | No value found
Current flow t' (milli seconds) Core 4
Current flow t' (milli seconds) Core 5
Current flow t' (milli seconds) Core 6
Current flow t' (milli seconds) Core 7
Current flow t'' (milli seconds) Core 1 | No value found | No value found | No value found | No value found
Current flow t'' (milli seconds) Core 2 | No value found | No value found | No value found | No value found
Current flow t'' (milli seconds) Core 3 | No value found | No value found | No value found | No value found
Current flow t'' (milli seconds) Core 4
Current flow t'' (milli seconds) Core 5
Current flow t'' (milli seconds) Core 6
Current flow t'' (milli seconds) Core 7
Current flow tal' (milli seconds) Core 1 | No value found | No value found | No value found | No value found
Current flow tal' (milli seconds) Core 2 | No value found | No value found | No value found | No value found
Current flow tal' (milli seconds) Core 3 | No value found | No value found | No value found | No value found
Current flow tal' (milli seconds) Core 4
Current flow tal' (milli seconds) Core 5
Current flow tal' (milli seconds) Core 6
Current flow tal' (milli seconds) Core 7
Current flow tal'' (milli seconds) Core 1 | No value found | No value found | No value found | No value found
Current flow tal'' (milli seconds) Core 2 | No value found | No value found | No value found | No value found
Current flow tal'' (milli seconds) Core 3 | No value found | No value found | No value found | No value found
Current flow tal'' (milli seconds) Core 4
Current flow tal'' (milli seconds) Core 5
Current flow tal'' (milli seconds) Core 6
Current flow tal'' (milli seconds) Core 7
Dead time ttfr (milli seconds) Core 1 | No value found | No value found | No value found | No value found
Dead time ttfr (milli seconds) Core 2 | No value found | No value found | No value found | No value found
Dead time ttfr (milli seconds) Core 3 | No value found | No value found | No value found | No value found
Dead time ttfr (milli seconds) Core 4
Dead time ttfr (milli seconds) Core 5
Dead time ttfr (milli seconds) Core 6
Dead time ttfr (milli seconds) Core 7
Dimension factor Ktd Core 1 | No value found | No value found | 3.0 | No value found
Dimension factor Ktd Core 2 | No value found | No value found | 3.0 | No value found
Dimension factor Ktd Core 3 | No value found | No value found | 3.0 | No value found
Dimension factor Ktd Core 4
Dimension factor Ktd Core 5
Dimension factor Ktd Core 6
Dimension factor Ktd Core 7
Extension (%) Core 1 | AI found no value | AI found no value | AI found no value | AI found no value
Extension (%) Core 2 | AI found no value | AI found no value | AI found no value | AI found no value
Extension (%) Core 3 | AI found no value | AI found no value | AI found no value | AI found no value
Extension (%) Core 4 | AI found no value | AI found no value | AI found no value | AI found no value
Extension (%) Core 5 | AI found no value | AI found no value | AI found no value | AI found no value
Extension (%) Core 6 | AI found no value | AI found no value | AI found no value | AI found no value
Extension (%) Core 7 | AI found no value | AI found no value | AI found no value | AI found no value
Knee point Ek (V) Kern 1 | No value found | No value found | No value found | No value found
Knee point Ek (V) Kern 2 | No value found | No value found | No value found | No value found
Knee point Ek (V) Kern 3 | No value found | No value found | No value found | No value found
Knee point Ek (V) Kern 4
Knee point Ek (V) Kern 5
Knee point Ek (V) Kern 6
Knee point Ek (V) Kern 7
Magn. current (milli amps) Core 1 | No value found | No value found | No value found | No value found
Magn. current (milli amps) Core 2
Magn. current (milli amps) Core 3 | No value found | No value found | No value found | No value found
Magn. current (milli amps) Core 4
Magn. current (milli amps) Core 5
Magn. current (milli amps) Core 6
Magn. current (milli amps) Core 7
Rated power (VA) Core 1 | No value found | See values below | No value found | No value found
Rated power (VA) Core 2 | No value found | See values below | No value found | See values below
Rated power (VA) Core 3 | No value found | See values below | No value found | See values below
Rated power (VA) Core 4
Rated power (VA) Core 5
Rated power (VA) Core 6
Rated power (VA) Core 7
Rated primary current (amps) Core 1 | 1000 | (500-250-125) x (1000-500-250) | 1000-500-250-125 | (500-250-125) x (1000-500-250) A
Rated primary current (amps) Core 2 | 1000 | (500-250-125) x (1000-500-250) | 1000-500-250-125 | (500-250-125) x (1000-500-250)
Rated primary current (amps) Core 3 | 1000 | (500-250-125) x (1000-500-250) | 1000-500-250-125 | (500-250-125) x (1000-500-250)
Rated primary current (amps) Core 4
Rated primary current (amps) Core 5
Rated primary current (amps) Core 6
Rated primary current (amps) Core 7
Rated sec. current (amps) Core 1 | 5 | 5 | 5 | 5:00
Rated sec. current (amps) Core 2 | 5 | 5 | 5 | 5
Rated sec. current (amps) Core 3
Rated sec. current (amps) Core 4
Rated sec. current (amps) Core 5
Rated sec. current (amps) Core 6
Rated sec. current (amps) Core 7
Sec. Resistance (ohm) Kern 1 | No value found | No value found | No value found | No value found
Sec. Resistance (ohm) Kern 2 | No value found | No value found | No value found | No value found
Sec. Resistance (ohm) Kern 3 | No value found | No value found | No value found | No value found
Sec. Resistance (ohm) Kern 4
Sec. Resistance (ohm) Kern 5
Sec. Resistance (ohm) Kern 6
Sec. Resistance (ohm) Kern 7
Short circuit factor KSSC Core 1 | No value found | No value found | No value found | No value found
Short circuit factor KSSC Core 2 | No value found | No value found | No value found | No value found
Short circuit factor KSSC Core 3 | No value found | No value found | No value found | No value found
Short circuit factor KSSC Core 4
Short circuit factor KSSC Core 5
Short circuit factor KSSC Core 6
Short circuit factor KSSC Core 7
Time constant primary Tp (ms) Kern 1 | No value found | No value found | No value found | No value found
Time constant primary Tp (ms) Kern 2 | No value found | No value found | No value found | No value found
Time constant primary Tp (ms) Kern 3
Time constant primary Tp (ms) Kern 4
Time constant primary Tp (ms) Kern 5
Time constant primary Tp (ms) Kern 6
Time constant primary Tp (ms) Kern 7
Densimeter-type | AI found no value | without transmitter
Cable protection hose | No | No
Densimeter brand | Not specified | Not specified
Densimeter Contacts | AI found no value | 2
Densimeter points to the ground (rotation) | No | No
relates to tre:Densimeter switching contacts with falling pressure: | AI found no value | Normally closed
Densimeter testing equipment | No | No
Densimeter wired in terminal box | No | Yes
Earthing contacts seperately grounded | No | No
Filling valve | AI found no value | DN20
Hybrid DW | No | No
Permissible leakage rate | AI found no value | 0,5% / p.a
Pressure shown on the Densimeter | AI found no value | bar (rel./gauge)
Sensgear required | No | No
Documents located in TB | ?
Primary connection | Other specification | Al. Flat-terminal 200x120x20 - 6xØ14,0 hole distance 44,5 mm, Al. Flat-terminal 200x120x20 - 4xØ14,0 hole distance 44,5 mm (NEMA), Al. Flat-terminal 200x120x20 - 8xØ14,0 hole distance 44,5 mm (NEMA)
Special short manual designed for Customer | No | No
Earthing connection | Other specification | 2xØ14,5, hole distance 44,5 mm (NEMA), 8xØ14,0 hole distance 44,5 x 44,5 mm (NEMA), 4xØ14,5 hole distance 44,5 x 44,5 mm (NEMA)
Material of earthing connection | Not specified | Not specified
Additional delivery parts from TG | No | No
Auxiliary Contacts
Barcode on ratingplate | Yes | No
Supplier ID-nr. on ratingplate | Yes | No
Material of ratingplate | Stainless steel silver & black lettering | Al silver & black lettering
Intended breaking points | Yes | No
Cover of customer clamps | Yes | No
Cableglands | Yes | No
Language on ratingplate |  | English
Terminalbox-heating | Yes | No
Detail of protection | Not specified | Not specified
Protection required | Yes | No
Spark gap required | Yes | No
Connection clamps | Penn Union No. 6000 Series | Phoenix UK6N, Phoenix UK16N, Bolt clamp M12 (Trench), Bolt clamp M10 (Trench)
Earthing bar | No | No
Design Terminalbox | Not specified | Not specified
Clamps for densimeter | Phoenix UK5N, Phoenix UK6N, Phoenix PT6 | Phoenix UK6N, Bolt clamp M12 (Trench), Bolt clamp M10 (Trench)
PT100 required | Yes | No
Name on ratingplate