## Instrument Transformer_TRD
Description | Dimension | Remarks | Offered by the Contractor
Rated values
Rated frequency | Hz
Rated voltage | kV
Rated continuous thermal current | %
PF withstand voltage (1min) | kV
SIWL (f-a) | kV
LIWV (1,2 / 50 μs) | kV
Short-circuit current (1 & 3 phase) | kA
Rated duration of short circuit | s
Rated peak withstand current | kA
Network time constant | ms
corona extinguishing voltage | kV
Type and dimensions
Current terminal loads (if applicable)
Static load | kN
Dynamic load | kN
Inductive / capacitive
Voltage transformer | -
Combined transformer | -
Creepaqe distance (level 'e') | mm
Maintenance
MBTF | hours